## Core Parameter
Overview: Core Parameter
Core Indicators (selected) | Parameter | Value (Level 2) | Value (Level 3)
1.1 Use stage energy performance | Regulated total primary energy (kWh/m2/yr) | 0
1.2 Life cycle Global Warming Potential | GWP Lifecycle Stage A + B + C (fossil + biogenic + land use and land change) | #REF!
2.1 Bill of Quantities, materials and lifespans | Material type: Combined total mass: Material total (t) | #REF!
2.2 Construction and Demolition waste and materials | Construction and Demolition waste and materials total: Mass (kg/m2) | #REF!
2.3 Design for adaptability and renovation | Adaptability score: Total weighted score | #REF!
2.4 Design for deconstruction | Score for ease of reuse and recycling: Overall score obtained | #REF!
3.1 Use stage water consumption | Total water consumption (m3/o/a) | #REF!
4.1 Indoor air quality | Pollutants: Total VOCs µg/m³ | #REF!
| Conditions: Ventilation rate ( l/s/m²) | #REF!
4.2 Time outside of thermal comfort range | Time out of range (%) (without mechanical heating/cooling): Lower/upper limits cooling and heating season | #REF!
5.1 Protection of occupier health and thermal comfort | Time out of range (%) (without mechanical heating/cooling): Lower/upper limits cooling and heating season for 2030 scenario: 2°C trajectory | #REF! | Not yet defined
6.1 Life cycle costs | Initial costs (Lifecycle Stage A): Normalised cost (€/m2/yr) | #REF! | 0
| Annual costs (Lifecycle Stage B): Normalised cost (€/m2/yr) | #REF! | 0

## Building discription
Building Description
Parameter |  |  | Verwendbare Kriterien und Indikatoren im DGNB System Sanierung 2021
|  |  | Office Buildings | Residential Buildings
Building floor area in m²
1. Location | 1.1 Country and region |  | SOC1.1 Indikatoren 1,5 (KPI 8)
| 1.2 Heating and cooling degree days |  | SOC1.1 Indikatoren 1,5 (KPI 8)
| 1.3 Climate zone |  | SOC1.1 Indikatoren 1,5 (KPI 8)
2. The building typology and age | 2.1 New build or major renovation |  | ENV1.1 Indikator 3 (Methodik 1.2.1)
| 2.2 The year of construction |  | ECO2.2 Indikator 3,4 (KPI 6)
| 2.3 Market segment |  | ECO2.2 Indikator 3,4 (KPI 7)
3. How the building will be used | 3.1 Conditions of use |  | ENV1.1 Indikator 3 (Methodik 1.2.1)
| 3.2 Building occupation and usage patterns |  | ENV1.1 Indikator 3 (Methodik 1.2.1)
| 3.3 The intended (or required) service life |  | ECO2.2 Indikator 3,4 (KPI 6) ENV1.1 Indikator 1, 2, 3 (Methodik 1.2.1) | Not applicable
4. The building model and characteristics | 4.1 The building form |  | ECO2.2 Indikator 3,4 (KPI 6)
| 4.2 Total useful floor area |  | ECO2.2 Indikator 3,4 (KPI 6)
| 4.3 The scope of building elements to be assessed and the categorisation system used | 4.3.1 The scope of building elements to be assessed | ENV1.1 Indikator 3 (Methodik 1.2.1)
|  | 4.3.2 The building element categorisation system used | ENV1.1 Indikator 3 (Methodik 1.2.1)

## Level 1
Level 1 - Design stage
Macro objective | Indicator | Requirement |  | Verwendbare Kriterien und Indikatoren im DGNB System Sanierung 2021 | Adressed how? (descriptive) | Quality of data
1. Greenhouse gas emissions along a buildings life cycle | 1.1 Use stage energy performance | 1. Minimum energy performance requirements and Near Zero-Energy Building (NZEB) design |  | ENV1.1 Indikator 1.1 Ökobilanzen in der Planung Indikator 4.1.1, 4.1.3 Agenda 2030 Bonus - Klimaschutzziele TEC1.4 Indikator 1.1 Passive Systeme
|  | 2. Site specific design |  | Automatische Erfüllung durch GEG SITE1.1 Indikator 10.1 Besondere Klimaextreme Indikator 12.1 Luftqualität
|  | 3. Renovation specific design |  | Automatische Erfüllung durch GEG ENV1.1 Indikator 1.1 Ökobilanzen in der Planung
|  | 4. High quality building fabric and services |  | TEC1.3 Indikator 1 Transmission und Diffusion über Hüllflächenbauteile Indikator 2 Transmission über Wärmebrücken Indikator 3 Luftdichtheit PRO2.2 Indikator 1.1 Qualitätssicherungsplanung Indikator 2. Messungen zur Qualitätskontrolle PRO2.3 Indikator 3.1 Vorab-Funktionsprüfung Indikator 4.1 Funktionsprüfung und Einweisung
|  | 5. Smart monitoring and control systems |  | PRO2.3 Indikator 1.1 Monitoringkonzept Indikator 6.1 Integrales Betriebskonzept und geordnete Inbetriebnahme Indikator 7.1 Commissioning Management PRO2.4 Indikator 2.1 Informationssystem zur Nachhaltigkeit PRO2.5 Indikator 3.1 Nutzer- und nutzungsbedingter Energieverbrauch
| 1.2 Life cycle Global Warming Potential | 1. Efficient building shape and form |  | ENV1.1 Indikator 1.1 Ökobilanzen in der Planung
|  | 2. Optimised NZEB construction |  | ENV1.1 Indikator 1.1 Ökobilanzen in der Planung Indikator 2.1 Ökobilanz-Optimierung Indikator 4.1.4 Agenda 2030 Bonus - Klimaschutzziele
|  | 3. Optimised material utilisation and circular value |  | ENV1.1 Indikator 3.1 Ökobilanz Vergleichsrechnung Indikator 4.1.4. Klimafreundliche Konstruktion Circular Economy Bonus 5.1. Einsatz von wiederverwendeten Bauteilen oder Bauelementen
|  | 4. Extending building and component service lives |  | ENV1.1 Indikator 2.1 Ökobilanz-Optimierung Indikator 3.1 Ökobilanz Vergleichsrechnung
|  | 5. Design for adaptability |  | ECO2.1 Indikator 6.1 Konstruktion Indikator 7.1 Technische Gebäudeausrüstung
|  | 6. Design for deconstruction |  | TEC1.6 Indikator 1.1 Recyclingfreundlichkeit Circular Economy Bonus – Wiederverwendung oder Werkstoffliche Verwertung Circular Economy Bonus – Vermeidung von Bauteilen Indikator 2.1 Rückbaufreundlichkeit Indikator 3.1 Rückbaubarkeit, Umbaubarkeit und Recyclingfreundlichkeit in der Planung
2. Resource efficient and circular material life cycles | 2.1 Bill of Quantities, materials and lifespans | 1. Consideration of building form on inherent material efficiency of the structure |  | ENV1.1 Indikator 1.1 Ökobilanzen in der Planung
|  | 2. For a given structural design – consider the scope for optimising material efficiency |  | ENV1.1 Indikator 1.1 Ökobilanzen in der Planung Indikator 2.1 Ökobilanz-Optimierung
|  | 3. Consider potential trade-offs and benefits of material efficient design options. |  | ENV1.1 Indikator 1.1 Ökobilanzen in der Planung Indikator 2.1 Ökobilanz-Optimierung
|  | 4. Durable and reparable building components and systems |  | ENV1.1 Indikator 1.1 Ökobilanzen in der Planung TEC1.6 Indikator 1.1 Recyclingfreundlichkeit Indikator 2.1 Rückbaufreundlichkeit Indikator 3.1 Rückbaubarkeit, Umbaubarkeit und Recyclingfreundlichkeit in der Planung
|  | 5. Optimum use of fit-out materials |  | TEC1.6 Indikator 2.1 Rückbaufreundlichkeit Indikator 3.1 Rückbaubarkeit, Umbaubarkeit und Recyclingfreundlichkeit in der Planung TEC1.4 Indikator 3.1 Zugänglichkeitder TGA
|  | 6. Incorporation of recycled materials |  | ENV1.3 (KPI 3) Indikator 2 Sekundärrohstoffe ENV1.1 Circular Economy Bonus 5.1. Einsatz von wiederverwendeten Bauteilen oder Bauelementen
| 2.2 Construction and Demolition waste and materials | 1. Target setting and KPIs in line with the EU waste hierarchy and the European LoW |  | PRO2.1 (KPI 1) Indikator 4.1 Abfallarme Baustelle
|  | 2. Project type and influence on CDW constraints |  | PRO2.1 (KPI 1) Indikator 4.1 Abfallarme Baustelle
|  | 3. Pre-demolition auditing |  | ENV1.1 (KPI 10) Indikator 3.1 Ökobilanz Vergleichsrechnung
|  | 4. Good construction practice |  | PRO2.1 (KPI 1) Indikator 4.1 Abfallarme Baustelle Circular Economy Bonus – Abfallvermeidung im Rückbau TEC1.6 Indikator 1.1 Recyclingfreundlichkeit Indikator 2.1 Rückbaufreundlichkeit Indikator 3.1 Rückbaubarkeit, Umbaubarkeit und Recyclingfreundlichkeit in der Planung
|  | 5. Site Waste Management Plan (SWMP) |  | PRO2.1 (KPI 1) Indikator 4.1 Abfallarme Baustelle PRO2.1 (KPI 1) Indikator 2.1 Staubarme Baustelle Indikator 3.1 Boden-und Grundwasserschutz auf der Baustelle Indikator 4.1 Abfallarme Baustelle Circular Economy Bonus – Abfallvermeidung im Rückbau
|  | 6. Buildings as Material Banks (BAMB) principles in concept design |  | PRO2.1 (KPI 1) Indikator 4.1 Abfallarme Baustelle Circular Economy Bonus – Abfallvermeidung im Rückbau TEC1.6 Indikator 1.1 Recyclingfreundlichkeit Indikator 2.1 Rückbaufreundlichkeit Indikator 3.1 Rückbaubarkeit, Umbaubarkeit und Recyclingfreundlichkeit in der Planung
| 2.3 Design for adaptability and renovation | Office building: 1. Changes to the internal space distribution | 1.1 Column grid spans | ECO2.1 (KPI 5) Indikator 1.1 Flächeneffizienz Indikator 5.1 Grundrissaufteilung Indikator 6.1 Konstruktion
1.2 Façade pattern
1.3 Internal wall system
1.4 Unit size and access
|  | Office building: 2. Changes to the buildings servicing | 2.1 Ease of access to service ducts | ECO2.1 (KPI 5) Indikator 2.1 Raumhöhe Indikator 6.1 Konstruktion Indikator 7.1 Technische Gebäudeausrüstung TEC1.6 (KPI 1) Indikator 3.1 Zugänglichkeit der technischen Systeme
2.2 Ease of access to plant rooms
2.3 Longitudinal ducts for service routes
2.4 Higher ceilings for service routes
2.5 Services to sub-divisions
|  | Office building: 3. Changes to the buildings façade and structure | 2.5 Non-load bearing facades | ECO2.1 (KPI 5) Indikator 4.1 Vertikale Erschließung Indikator 6.1 Konstruktion
2.6 Future-proofing of load bearing capacity
2.7 Structural design to support future expansion
|  | Residential building: 1. Changes to the internal space distribution | 1.1 Wall systems that support layout changes | ECO2.1 (KPI 5) Indikator 4.1 Vertikale Erschließung Indikator 5.1 Grundrissaufteilung Indikator 6.1 Konstruktion
1.2 Greater ceiling heights for surface routes
|  | Residential building: 2. Changes to the buildings servicing | 2.1 Ease of access to the building services | ECO2.1 (KPI 5) Indikator 6.1 Konstruktion Indikator 7.1 Technische Gebäudeausrüstung TEC1.6 (KPI 1) Indikator 3.1 Zugänglichkeit der technischen Systeme
2.2 Ease of adaptation of the distribution networks and connectors
|  | Residential building: 3. Change to the use of units or floors | 3.1 The potential for a segregated home working spaces | ECO2.1 (KPI 5) Indikator 5.1 Grundrissaufteilung
3.2 The potential for ground floor conversion to a contained unit
|  | Residential building: 4. Changes in access requirements | 4.1 Ease of access to each residential unit | SOC2.1 (KPI 4) Indikator 1-5 Qualitätsstufe 1-5
4.2 Access to and manoeuvrability within rooms
2. Resource efficient and circular material life cycles | 2.4 Design for deconstruction | 1. Ease of recovery | 1.1 Elements and their parts are independent and easily separable | TEC1.6 Indikator 1.1 Recyclingfreundlichkeit Indikator 2.1 Rückbaufreundlichkeit
1.2 Connections are mechanical and reversible
1.3 Connections are easily accessible and sequentially reversible
1.4 The number and complexity of the disassembly steps are low.
|  | 2. Ease of reuse | 2.1 Specification of elements and parts using standardised dimensions. | TEC1.6 Indikator 2.1 Rückbaufreundlichkeit
2.2 Specification of modular building services.
2.3 Design supports future adaptation to changes in functional needs.
|  | 3. Ease of recycling | 3.1 Parts made of compatible or homogenous materials | TEC1.6 Indikator 1.1 Recyclingfreundlichkeit
3.2 Constituent materials can be easily separated
3.3 There are established recycling options for constituent parts or materials
3. Efficient use of water resources | 3.1 Use stage water consumption | 1. Specification of water efficient sanitary devices and fittings |  | ENV2.2 Indikator 4.1 Wasserverbrauch in der Planung
|  | 2. The relevance of water scarcity as a driver for reducing water demand. |  | ENV2.2 Indikator 1.1 Trinkwasserbedarf und Abwasseraufkommen PRO2.4 Indikator 1 Nachhaltigkeitsleitfaden
|  | 3. Examine the potential to use non-potable water to substitute for potable water demand. |  | ENV2.2 Indikator 1.1 Trinkwasserbedarf und Abwasseraufkommen Circular Economy Bonus
|  | 4. Water efficient vegetated areas |  | ENV2.2 Indikator 2.1 Außenanlagen Indikator 4.1 Wasserverbrauch in der Planung
|  | 5. Metering plan |  | PRO2.3 (KPI 1) Indikator 1 Monitoringkonzept Indikator 2 Inbetriebnahmekonzept
4. Healthy and comfortable spaces | 4.1 Indoor air quality | 1. Consider how the building will be used and the expectation levels of the occupants |  | PRO1.1 Indikator 1 Bedarfsplanung
|  | 2. Source control of pollutants and related considerations |  | SOC1.2 (KPI 1, 2) Indikator 1 Innenraumhygiene –Flüchtige organische Verbindungen (VOC) ENV1.2 KPI 2 Indikator 1 Umweltverträgliche Materialien
|  | 3. Preferred ventilation strategy in the context of desired ventilation rates in different zones of the building |  | SOC1.5 (KPI1) Indikator 1 Lüftung SOC1.2 (KPI 3) Indikator 2 Innenraumhygiene – Lüftungsrate
|  | 4. Control system |  | SOC1.2 (KPI 3) Indikator 2 Innenraumhygiene – Lüftungsrate
|  | 5. In-situ monitoring |  | PRO2.3 Indikator 1.1 Monitoringkonzept
| 4.2 Time outside of thermal comfort range | 1. Identify and assess risk factors |  | TEC 1.3 Indikator 1 Transmission und Diffusion über Hüllflächenbauteile Indikator 2 Transmission über Wärmebrücken Indikator 4.1 Sommerlicher Wärmeschutz (Simulation)
|  | 2. Design for comfortable thermal conditions |  | TEC1.3 Indikator 1 Transmission und Diffusion Indikator 2 Transmission über Wärmebrücken Indikator 4.1 Sommerlicher Wärmeschutz (Simulation) SOC1.1 Indikator 1.1 Operative Temperatur Heizperiode (Simulation) Indikator 5.1 Operative Temperatur Kühlperiode (Simulation)
|  | 3. Take into account the site specific conditions |  | SOC1.1 Indikator 1.1 Operative Temperatur Heizperiode (Simulation) Indikator 5.1 Operative Temperatur Kühlperiode (Simulation) TEC1.3 Indikator 4.1 Sommerlicher Wärmeschutz (Simulation)
|  | 4. Take into account renovation specific conditions |  | TEC1.4 Indikator 1.1 Passive Systeme
| 4.3 Lighting and Visual Comfort | 1. Daylight - Maximise the useful contribution of daylight and minimise negative impacts on visual comfort |  | SOC1.4 Indikator 1.1 Tageslichtverfügbarkeit Gesamtgebäude Indikator 2.1 Tageslichtverfügbarkeit ständige Arbeitsplät
|  | 2. Light levels and distribution for visual comfort |  | SOC1.4 Indikator 1.1 Tageslichtverfügbarkeit Gesamtgebäude Indikator 2.1 Tageslichtverfügbarkeit ständige Arbeitsplätze Indikator 4.1 Blendfreiheit bei Tageslicht Indikator 5 Kunstlicht Indikator 6.1 Farbwiedergabe Tageslicht
|  | 3. Automated and personalised control for visual comfort |  | SOC1.5 (KPI 2) Indikator 2 Sonnenschutz und Blendschutz Indikator 5 Steuerung von Kunstlicht
|  | 4. Light source quality (for electric light sources) |  | SOC1.4 Indikator 5 Kunstlicht
| 4.4 Acoustics and protection against noise | 1. Façade sound insulation |  | TEC1.2 Indikator 3 Luftschallschutz Indikator 6 Schallschutz bei besonderen Bauwerken
|  | 2. Airborne sound insulation |  | TEC1.2 Indikator 1 Luftschalldämmung zwischen Räumen Indikator 6 Schallschutz bei besonderen Bauwerken
|  | 3. Impact sound insulation |  | TEC1.2 Indikator 1 Luftschalldämmung zwischen Räumen SOC1.3 (KPI 1) Indikator 2: Einzelbüros und Mehrpersonenbüros bis zu einer Fläche von 40 m2 Indikator 3: Mehrpersonenbüros mit einer Fläche von mehr als 40 m2 Indikator 5: Räume mit Empfehlungen nach DIN 18041:2016-03 (Nutzungsart B3 – B5) mit besonderen Anforderungen an die Lärmminderung und / oder den raumakustischen Komfort Indikator 6 Schallschutz bei besonderen Bauwerken
|  | 4. Service equipment noise |  | TEC1.2 Indikator 4 Luftschallschutz gegenüber haustechnischen Anlagen Indikator 6 Schallschutz bei besonderen Bauwerken
|  | 5. Sound absorption in rooms and enclosed spaces |  | TEC1.2 Indikator 1 Luftschalldämmung zwischen Räumen SOC1.3 (KPI 1) Indikator 2: Einzelbüros und Mehrpersonenbüros bis zu einer Fläche von 40 m2 Indikator 3: Mehrpersonenbüros mit einer Fläche von mehr als 40 m2 Indikator 5: Räume mit Empfehlungen nach DIN 18041:2016-03 (Nutzungsart B3 – B5) mit besonderen Anforderungen an die Lärmminderung und / oder den raumakustischen Komfort Indikator 6 Schallschutz bei besonderen Bauwerken
5. Adaption and resilience to climate change | 5.1 Protection of occupier health and thermal comfort | 1. Identify and assess risk factors |  | SITE 1.1 (KPI 3) Indikator 10.1 Standortvoraussetzungen für Klimaextreme TEC 1.3 Indikator 1 Transmission und Diffusion über Hüllflächenbauteile Indikator 2 Transmission über Wärmebrücken
|  | 2. Design for comfortable thermal conditions |  | TEC1.3 Indikator 1 Transmission und Diffusion Indikator 2 Transmission über Wärmebrücken Indikator 4 Sommerlicher Wärmeschutz (Simulation) SOC1.1 Indikator 1.1 Operative Temperatur Heizperiode (Simulation) Indikator 5.1 Operative Temperatur Kühlperiode (Simulation)
|  | 3. Take into account the site specific conditions |  | SOC1.1 Indikator 1.1 Operative Temperatur Heizperiode (Simulation) Indikator 5.1 Operative Temperatur Kühlperiode (Simulation)
|  | 4. Take into account renovation specific conditions |  | TEC1.4 Indikator 1.1 Passive Systeme
| 5.2 Increased risk of extreme weather events | 1. Preparing the ground for adaptation and resistance to extreme weather events. |  | SITE1.1 Indikator 10.2 Besondere Klimaextreme
|  | 2. Assess the main risks of and vulnerabilities to extreme weather events at the building location (both now and in the future). |  | SITE1.1 Indikator 4.1 Sturm Indikator 5.1 Hochwasser Indikator 6.1 Starkregen Indikator 7.1 Hagel Indikator 9.1 Sturmflut / Tsunami Indikator 10.1 Besondere Klimaextreme Indikator 11.1 Waldbrände
|  | 3. Identify possible adaptation actions |  | SITE1.1 Indikator 10.2 Besondere Klimaextreme
|  | 4. Assess the costs and benefits of adaptation actions |  | ECO1.1 Indikator 2.1 Lebenszykluskostenoptimierung
| 5.3 Increased risk of flood events | 1. Familiarising the core design team with sustainable drainage systems |  | ENV2.2 Indikator 1.1 Trinkwasserbedarf und Abwasseraufkommen Indikator 3.1 Integration in die Quartiers-Infrastruktur Indikator 4.1 Wasserverbrauch in der Planung
|  | 2. Assess the potential flood risk onsite. |  | SITE1.1 Indikator 5.1 Hochwasser
|  | 3. Consult relevant professionals and organisations at the beginning of the process. |  | ENV2.2 Indikator 3.1 Integration in die Quartiers-Infrastruktur Indikator 4.1 Wasserverbrauch in der Planung
|  | 4. Define the outline design and layout of the sustainable drainage system |  | ENV2.2 Indikator 2.1 Außenanlagen Indikator 3.1 Integration in die Quartiers-Infrastruktur
|  | 5. Assess the costs and benefits of adaptation actions |  | ECO1.1 Indikator 2.1 Lebenszykluskostenoptimierung
6. Optimised life cycle costs and value | 6.1 Life cycle costs | 1. Take a longer-term perspective on costs and decisions |  | ECO1.1 Indikator 1.1 Lebenszykluskostenrechnungen in der Planung
|  | 2. Quality and representativeness of cost data |  | ECO1.1 Indikator 1.1 Lebenszykluskostenrechnungen in der Planung Indikator 2.1 Lebenszykluskostenoptimierung PRO2.4 Nutzerkommunikation Indikator 2.1 Informationssysteme zur Nachhalitgkeit
|  | 3. Schedule and estimate future costs, risks and liabilities |  | ECO1.1 Indikator 1.1 Lebenszykluskostenrechnungen in der Planung Indikator 2.1 Lebenszykluskostenoptimierung
|  | 4. Make the link between life cycle cost and environmental performance |  | ECO1.1 (KPI 2) Indikator 1.1 Lebenszykluskostenrechnungen in der Planung Indikator 2.1 Lebenszykluskostenoptimierung Circular Economy Bonus
|  | 5. Empowering building owners and occupiers |  | ECO1.1 Indikator 1.1 Lebenszykluskostenrechnungen in der Planung Indikator 2.1 Lebenszykluskostenoptimierung PRO2.4 Indikator 2.1 Informationssysteme zur Nachhalitgkeit
| 6.2 Value creation and risk exposure | 1. Increased revenues from more stable investments: | 1.1 Use stage energy consumption | ECO1.1 (KPI 3) Indikator 2.1 Lebenszykluskostenoptimierung ECO2.1 (KPI 7) Indikator 1.1 Flächeneffizienz Indikator 5.1 Grundrissaufteilung Indikator 6.1 Konstruktion Indikator 7.1 Technische Gebäudeausrüstung ECO2.2 (KPI 7) Indikator 1.1 Eingangssituation und Wegeführung Indikator 3.1 Eigenschaften des Marktes Indikator 4.1 Nutzungsgrad
1.2 Life cycle Global Warming Potential
2.1 Bill of quantities, materials and life spans
2.2 Construction & demolition waste and materials
2.3 Design for adaptability and refurbishment
2.4 Design for deconstruction, reuse and recyclability
3.1 Use stage water consumption
4.1 Indoor air quality
4.2 Time out of thermal comfort range
4.3 Lighting and visual comfort
4.4 Acoustics and protection against noise
5.1 Protection of occupier health and thermal comfort
5.2 Increased risk of extreme weather events
5.3 Increased risk of flood events
6.1 Life cycle costs
|  | 2. Reduced operational overheads: | 1.1 Use stage energy consumption
1.2 Life cycle Global Warming Potential
2.1 Bill of quantities, materials and life spans
2.2 Construction & demolition waste and materials
2.3 Design for adaptability and refurbishment
2.4 Design for deconstruction, reuse and recyclability
3.1 Use stage water consumption
4.1 Indoor air quality
4.2 Time out of thermal comfort range
4.3 Lighting and visual comfort
4.4 Acoustics and protection against noise
5.1 Protection of occupier health and thermal comfort
5.2 Increased risk of extreme weather events
5.3 Increased risk of flood events
6.1 Life cycle costs
|  | 3. Reduced exposure to future risk: | 1.1 Use stage energy consumption
1.2 Life cycle Global Warming Potential
2.1 Bill of quantities, materials and life spans
2.2 Construction & demolition waste and materials
2.3 Design for adaptability and refurbishment
2.4 Design for deconstruction, reuse and recyclability
3.1 Use stage water consumption
4.1 Indoor air quality
4.2 Time out of thermal comfort range
4.3 Lighting and visual comfort
4.4 Acoustics and protection against noise
5.1 Protection of occupier health and thermal comfort
5.2 Increased risk of extreme weather events
5.3 Increased risk of flood events
6.1 Life cycle costs
6. Optimised life cycle costs and value | 6.2 Value creation and risk exposure | 4. Increased revenues from more stable investments: | 1.1 Use stage energy consumption
1.2 Life cycle Global Warming Potential
2.1 Bill of quantities, materials and life spans
2.2 Construction & demolition waste and materials
2.3 Design for adaptability and refurbishment
2.4 Design for deconstruction, reuse and recyclability
3.1 Use stage water consumption
4.1 Indoor air quality
4.2 Time out of thermal comfort range
4.3 Lighting and visual comfort
4.4 Acoustics and protection against noise
5.1 Protection of occupier health and thermal comfort
5.2 Increased risk of extreme weather events
5.3 Increased risk of flood events
6.1 Life cycle costs

## Level 2
Level 2 - Detailed design and construction
Macro objective | Indicator | Parameter and unit |  |  | Verwendbare Kriterien und Indikatoren im DGNB System Sanierung 2021 | Value | Quality of data
1. Greenhouse gas emissions along a buildings life cycle | 1.1 Use stage energy performance | Delivered energy needs assessment (Energy carrier in kWh/yr) | Heating |  | ENV1.1 (KPI1, 2) Indikator 2.1 Ökobilanz-Optimierung
Cooling
Ventilation
Hot water
Lighting
Other
|  | Regulated total primary energy (kWh/m2/yr) |  |  | ENV1.1 (KPI 2) Indikator 1.1 Ökobilanzen in der Planung Indikator 2.1 Ökobilanz-Optimierung
Unregulated total primary energy (kWh/m2/yr)
| 1.2 Life cycle Global Warming Potential | GWP fossil (CO2eq./m²/yr) (m² of useful internal floor per year over 50 years) | Option A | Product (A1-3) | Deklaration in DGNB ohne Kategorien GWP fossil, biogenic and land use (ENV1.1 KPI 4); Die Anwendung des vollständigen Verfahrens gemäß DGNB entspricht der Level(s) Option C (ENV1.1 KPI 6, 7)
Construction process (A4-5)
Use stage (B1-7)
End of life (C1-4)
Benefits and loads beyond the system boundary (D)
|  |  | Option B | Product (A1-3)
Use stage (B4, B5, B6)
|  |  | Option C | Product (A1-3) | ENV1.1 (KPI 4, KPI 6, KPI 7) Indikator 2.1 Ökobilanz-Optimierung Indikator 3.1 Ökobilanz Vergleichsrechnung
Use stage (B6)
End of life (C3-4)
Benefits and loads beyond the system boundary (D)
|  | GWP biogenic (CO2eq./m²/yr) (m² of useful internal floor per year over 50 years) | Option A | Product (A1-3)
Construction process (A4-5)
Use stage (B1-7)
End of life (C1-4)
Benefits and loads beyond the system boundary (D)
|  |  | Option B | Product (A1-3)
Use stage (B4, B5, B6)
|  |  | Option C | Product (A1-3)
Use stage (B6)
End of life (C3-4)
Benefits and loads beyond the system boundary (D)
|  | GWP land use and land use change (CO2eq./m²/yr) | Option A | Product (A1-3)
Construction process (A4-5)
Use stage (B1-7)
End of life (C1-4)
Benefits and loads beyond the system boundary (D)
|  |  | Option B | Product (A1-3)
Use stage (B4, B5, B6)
|  |  | Option C | Product (A1-3)
Use stage (B6)
End of life (C3-4)
Benefits and loads beyond the system boundary (D)
GWP lifecyle stage A (fossil + biogenic + land use and land change)
GWP lifecyle stage B (fossil + biogenic + land use and land change)
GWP lifecyle stage C (fossil + biogenic + land use and land change)
GWP lifecyle stages A + B + C (fossil + biogenic + land use and land change)
2. Resource efficient and circular material life cycles | 2.1 Bill of Quantities, materials and lifespans | Material type: Concrete, brick, tile, natural stone, ceramic | Material total (t) |  | ENV1.1 (KPI 9) Indikator 3.1 Ökobilanz-Optimierung
Material total (%) of combined total
|  | Material type: Wood | Material total (t)
Material total (%) of combined total
|  | Material type: Glass | Material total (t)
Material total (%) of combined total
|  | Material type: Plastic | Material total (t)
Material total (%) of combined total
2. Resource efficient and circular material life cycles | 2.1 Bill of Quantities, materials and lifespans | Material type: Bituminous mixtures | Material total (t)
Material total (%) of combined total
|  | Material type: Metals | Material total (t)
Material total (%) of combined total
|  | Material type: Insulation materials | Material total (t)
Material total (%) of combined total
|  | Material type: Gypsum | Material total (t)
Material total (%) of combined total
|  | Material type: Mixed | Material total (t)
Material total (%) of combined total
|  | Material type: Electrical and electronic materials | Material total (t)
Material total (%) of combined total
|  | Material type: Combined total mass | Material total (t)
Material total (%) of combined total
|  | Building aspect: Shell | Split by mass (t) |  | ENV1.1 (KPI 9) Indikator 3.1 Ökobilanz-Optimierung
Split by mass (%) of combined total
Split by Cost (€)
Split by Cost (%) of combined total
Total cost €/m2
Total cost €/t
|  | Building aspect: Core | Split by mass (t)
Split by mass (%) of combined total
Split by Cost (€)
Split by Cost (%) of combined total
Total cost €/m2
Total cost €/t
|  | Building aspect: External | Split by mass (t)
Split by mass (%) of combined total
Split by Cost (€)
Split by Cost (%) of combined total
Total cost €/m2
Total cost €/t
|  | Building aspect: Total | Split by mass (t)
Split by mass (%) of combined total
Split by Cost (€)
Split by Cost (%) of combined total
Total cost €/m2
Total cost €/t
|  | Building floor area in m2 |  |  | ECO2.2 (KPI 6) Indikator 3.1 Eigenschaften des Marktes
| 2.2 Construction and Demolition waste and materials | Reuse of materials | Mass (kg) of construction |  | PRO2.1 (KPI 1) Indikator 4 Abfallarme Baustelle ENV1.1 (KPI 11) Indikator 3.1 Ökobilanz-Optimierung
Mass (kg/m2) of construction
Fraction (%) of combined total
|  | Recycling of demolition waste | Mass (kg) of construction
Mass (kg/m2) of construction
Fraction (%) of combined total
|  | Material recovery (backfill) | Mass (kg) of construction
Mass (kg/m2) of construction
Fraction (%) of combined total
|  | Energy recovery | Mass (kg) of construction
Mass (kg/m2) of construction
Fraction (%) of combined total
|  | Disposal | Total | Mass (kg) of construction
Mass (kg/m2)
Fraction (%) of combined total
|  |  | Inert | Mass (kg) of construction
Mass (kg/m2)
Fraction (%) of combined total
2. Resource efficient and circular material life cycles | 2.2 Construction and Demolition waste and materials | Disposal | Non-hazardous | Mass (kg) of construction
Mass (kg/m2)
Fraction (%) of combined total
|  |  | Hazardous | Mass (kg) of construction
Mass (kg/m2)
Fraction (%) of combined total
|  | Total combined | Mass (kg)
Mass (kg/m2)
Fraction (%) of combined total
| 2.3 Design for adaptability and renovation | Adaptability score (Office building): 1. Changes to the internal space distribution | Weighting factor: 1.1 Column grid spans |  | ECO2.1 (KPI 6) Innovationsraum für Indikatoren 2-7 mit Level(s) Scoring
Weighting factor: 1.2 Façade pattern
Weighting factor: 1.3 Internal wall system
Weighting factor: 1.4 Unit size and access
|  | Adaptability score (Office building): 2. Changes to the building servicing | Weighting factor: 2.1 Ease of access to service ducts
Weighting factor: 2.2 Ease of access to plant rooms
Weighting factor: 2.3 Longitudinal ducts for service routes
Weighting factor: 2.4 Higher ceilings for service routes
Weighting factor: 2.5 Services to sub-divisions
|  | Adaptability score (Office building): 3. Changes to the building's façade and structure | Weighting factor: 3.1 Non-load bearing facades
Weighting factor: 3.2 Future-proofing of load bearing capacity
Weighting factor: 3.3 Structural design to support future expansion
Adaptability score (Office building): Total weighted score
|  | Adaptability score (Residential building): 1. Changes to the internal space distribution | Weighting factor: 1.1 Wall systems that support layout changes
Weighting factor: 1.2 Greater ceiling heights for surface routes
|  | Adaptability score (Residential building): 2. Changes to the buildings servicing | Weighting factor: 2.1 Ease of access to the building services
Weighting factor: 2.2 Ease of adaptation of the distribution networks and connectors
|  | Adaptability score (Residential building): 3. Change to the use of units or floors | Weighting factor: 3.1 The potential for a segregated home working spaces
Weighting factor: 3.2 The potential for ground floor conversion to a contained unit
|  | Adaptability score (Residential building): 4. Changes in access requirements | Weighting factor: 4.1 Ease of access to each residential unit
Weighting factor: 4.2 Access to and manoeuvrability within rooms
Adaptability score (Residential building): Total weighted score
| 2.4 Design for deconstruction | Score for ease of recovery: Structure | Load bearing structural frame |  | TEC1.6 (KPI 5) Indikator 2.1 Rückbaufreundlichkeit
Load bearing external walls
External and internal columns
Floor and roof structures
Foundations
|  | Score for ease of recovery: Shell | Non-load bearing external walls
Facades (inculding windows and doors)
Cladding and internal linings of external walls
Roof coverings and linings
2. Resource efficient and circular material life cycles | 2.4 Design for deconstruction | Score for ease of recovery: Core | Fit out (flooring, ceilings and linings)
Non-load bearing internal walls
Services (lighting, energy, ventilation, sanitation)
Score for ease of recovery: Overall score obtained
|  | Score for ease of reuse and recycling: Structure | Load bearing structural frame |  | TEC1.6: (KPI 5) Indikator 1.1 Recyclingfreundlichkeit
Load bearing external walls
External and internal columns
Floor and roof structures
Foundations
|  | Score for ease of reuse and recycling: Shell | Non-load bearing external walls
Facades (inculding windows and doors)
Cladding and internal linings of external walls
Roof coverings and linings
|  | Score for ease of reuse and recycling: Core | Fit out (flooring, ceilings and linings)
Non-load bearing internal walls
Services (lighting, energy, ventilation, sanitation)
Score for ease of reuse and recycling: Overall score obtained
3. Efficient use of water resources | 3.1 Use stage water consumption | Sanitary fittings and devices (Residential and Office buildings): Toilets | Total water consumption (m3/o/a) |  | ENV2.2 (KPI 1) Indikator 1.1 Trinkwasserbedarf und Abwasseraufkommen
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
|  | Sanitary fittings and devices(Residential and Office buildings): Bathroom taps | Total water consumption (m3/o/a)
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
|  | Sanitary fittings and devices (Residential and Office buildings): Shower | Total water consumption (m3/o/a)
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
|  | Sanitary fittings and devices (Residential and Office buildings): Bath-tub | Total water consumption (m3/o/a)
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
|  | Sanitary fittings and devices (Residential and Office buildings): Kitchen taps | Total water consumption (m3/o/a)
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
|  | Sanitary fittings and devices (Residential and Office buildings): Total | Total water consumption (m3/o/a)
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
|  | Water using appliances (Residential building): Dishwasher | Total water consumption (m3/o/a)
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
|  | Water using appliances (Residential building): Washing machines | Total water consumption (m3/o/a)
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
3. Efficient use of water resources | 3.1 Use stage water consumption | Water using appliances (Residential building): Total | Total water consumption (m3/o/a)
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
|  | Cleaning (Office building): Floor cleaning | Total water consumption (m3/o/a)
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
|  | Cleaning (Office building): Window cleaning | Total water consumption (m3/o/a)
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
|  | Cleaning (Office building): Total | Total water consumption (m3/o/a)
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
|  | Other uses (Office building): Total | Total water consumption (m3/o/a)
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
|  | Irrigation (Residential and Office buildings): Total | Total water consumption (m3/o/a)
Of which potable (m3/o/a)
Of which non-potable (m3/o/a)
|  | Total water consumption (m3/o/a) (Residential and Office buildings) |  |  | ENV2.2 (KPI 1) Indikator 1.1 Trinkwasserbedarf und Abwasseraufkommen
Potable proportion of water consumption (m3/o/a) (Residential and Office buildings)
Non-potable proportion of water consumption (m3/o/a) (Residential and Office buildings)
4. Healthy and comfortable spaces | 4.1 Indoor air quality | Conditions: Outdoor air quality (particulates): Based on EN 16798-3 |  |  | SOC1.2 (KPI 3) Indikator 1.1 Innenraumhygiene –Flüchtige organische Verbindungen (VOC) Indikator 2.1 Innenraumhygiene
Conditions: Outdoor air quality (gaseous pollutants): Based on EN 16798-3
Conditions: Supply air quality
Conditions: Ventilation performance category
Conditions: Ventilation rate ( l/s/m²)
|  | Pollutants: Total VOCs µg/m³ | VOCs: Overall value obtained |  | ENV1.2 (KPI 2) Indikator 1.1 Umweltverträgliche Materialien
Ceiling Tiles
Paints an varninshes: walls and ceiling
Paints an varninshes: floor and stairs
Paints an varninshes: doors and windows
Floor coverings: textile coverings
Floor coverings: laminate and flexible coverings
Floor coverings: wooden coverings
Floor coverings: Associated adhesives and sealants
Renovation products: internal isulation
Renovation products: interior surface treatments
|  | Pollutants: R-value | R-value: Overvall value obtained |  | ENV1.2 (KPI 2) Indikator 1.1 Umweltverträgliche Materialien
Ceiling Tiles
Paints an varninshes: walls and ceiling
Paints an varninshes: floor and stairs
Paints an varninshes: doors and windows
Floor coverings: textile coverings
Floor coverings: laminate and flexible coverings
Floor coverings: wooden coverings
Floor coverings: Associated adhesives and sealants
Renovation products: internal isulation
Renovation products: interior surface treatments
|  | Pollutants: Formaldehyde µg/m³ | Formaldehyde: Overall value obtained
Ceiling Tiles
Paints an varninshes: walls and ceiling
Paints an varninshes: floor and stairs
Paints an varninshes: doors and windows
Floor coverings: textile coverings
Floor coverings: laminate and flexible coverings
4. Healthy and comfortable spaces | 4.1 Indoor air quality | Pollutants: Formaldehyde µg/m³ | Floor coverings: wooden coverings
Floor coverings: Associated adhesives and sealants
Renovation products: internal isulation
Renovation products: interior surface treatments
|  | Indoor radon risk |  |  | SITE1.1 (KPI 2) Indikator 14 Radonexposition
|  | Mould risk |  |  | PRO2.2 (KPI 2) Indikator 4.1 Durchführung einer Schimmelpilzprävention
| 4.2 Time outside of thermal comfort range | Operative temperature range (°C) | Lower/upper limits: Cooling season |  | SOC1.1 (KPI 3) Indikator 1 und 5 Operative Temperatur
Lower/upper limits: Heating season
|  | Time out of range (%) (without mechanical heating/cooling) | Lower/upper limits: Cooling season |  | SOC1.1 (KPI 1) Indikator 1 und 5 Operative Temperatur TEC1.3 (KPI 6) Indikator 4 Sommerlicher Wärmeschutz
Lower/upper limits: Heating season
Lower/upper limits: Over whole year
|  | Time out of range (%) (with mechanical heating/cooling) | Lower/upper limits: Cooling season
Lower/upper limits: Heating season
Lower/upper limits: Over whole year
|  | Optional: Thermal environment categories (without mechanical cooling) | Lower/upper limits: Cooling season |  | SOC1.1 Indikator 1.1 Operative Temperatur Heizperiode Indikator 5.1 Operative Temperatur Kühlperiode
Lower/upper limits: Heating season
|  | Optional: Thermal environment categories (with mechanical cooling) | Lower/upper limits: Cooling season
Lower/upper limits: Heating season
| 4.3: Lighting and Visual Comfort | Not yet defined
| 4.4: Acoustics and protection against noise | Not yet defined
5. Adaption and resilience to climate change | 5.1 Protection of occupier health and thermal comfort | Time out of range (%) (without mechanical cooling) | 2030 scenario: 2°C trajectory |  | SOC1.1 (KPI 9) Agenda 2030 Bonus - Klimaanpassung TEC1.3 (KPI 7) Agenda 2030 Bonus - Klimaanpassung
2030 scenario: High emissions trajectory
2050 scenario: 2°C trajectory
2050 scenario: High emissions trajectory
|  | Time out of range (%) (with mechanical cooling) | 2030 scenario: 2°C trajectory
2030 scenario: High emissions trajectory
2050 scenario: 2°C trajectory
2050 scenario: High emissions trajectory
| 5.2: Increased risk of extreme weather events | Not yet defined
| 5.3: Increased risk of flood events | Not yet defined
6. Optimised life cycle costs and value | 6.1 Life cycle costs | Initial costs: Normalised cost (€/m2/yr) | (A) Product and construction stages |  | ECO1.1 (KPI 1) Indikator 1.1 Lebenszykluskostenrechnungen in der Planung Indikator 2.1 Lebenszykluskostenoptimierung
(B) Use stage
(C) End of life stage
|  | Annual costs: Normalised cost (€/m2/yr) | (B) Use stage
|  | Periodic costs: Normalised cost (€/m2/yr) | (B) Use stage
|  | Global costs by life cycle stage: Normalised cost (€/m2/yr) | Sum of stage A costs
Sum of stage B costs
Sum of stage C costs
|  | Building elements cost: Foundations | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
6. Optimised life cycle costs and value | 6.1 Life cycle costs | Building elements cost: Load bearing structural frame | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Non-load bearing elements | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Facades | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Roof | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Parking facilities | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Fixed lighting system | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Energy system | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Ventilation system | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Sanitary systems | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Miscellaneous systems | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
| 6.2: Value creation and risk exposure | Not yet defined
Note on E4: Use Drop down
Note on E5: Use Drop down
Note on E6: Use Drop down
Note on E7: Use Drop down
Note on E8: Use Drop down
Note on E9: Use Drop down
Note on C12: Simplified option: kg CO2 eq
Note on D12: Choose one option A, B or C
Note on D17: Choose one option A, B or C
Note on D19: Choose one option A, B or C
Note on C23: Simplified option: kg CO2 eq
Note on D23: Choose one option A, B or C
Note on D28: Choose one option A, B or C
Note on D30: Choose one option A, B or C
Note on C34: Simplified option: kg CO2 eq
Note on D34: Choose one option A, B or C
Note on D39: Choose one option A, B or C
Note on D41: Choose one option A, B or C
Note on D123: Compare indicator 2.3 p. 22 for scoring
Note on D124: Compare indicator 2.3 p. 22 for scoring
Note on D125: Compare indicator 2.3 p. 22 for scoring
Note on D126: Compare indicator 2.3 p. 22 for scoring
Note on D127: Compare indicator 2.3 p. 22 for scoring
Note on D128: Compare indicator 2.3 p. 22 for scoring
Note on D129: Compare indicator 2.3 p. 22 for scoring
Note on D130: Compare indicator 2.3 p. 22 for scoring
Note on D131: Compare indicator 2.3 p. 22 for scoring
Note on D132: Compare indicator 2.3 p. 22 for scoring
Note on D133: Compare indicator 2.3 p. 22 for scoring
Note on D134: Compare indicator 2.3 p. 22 for scoring
Note on D136: Compare indicator 2.3 p. 22 for scoring
Note on D137: Compare indicator 2.3 p. 22 for scoring
Note on D138: Compare indicator 2.3 p. 22 for scoring
Note on D139: Compare indicator 2.3 p. 22 for scoring
Note on D140: Compare indicator 2.3 p. 22 for scoring
Note on D141: Compare indicator 2.3 p. 22 for scoring
Note on D142: Compare indicator 2.3 p. 22 for scoring
Note on D143: Compare indicator 2.3 p. 22 for scoring
Note on C145: Level(s) method based on DGNB criteria "Ease of recovery and recycling" TEC1.6 (https://www.dgnb-system.de/en/buildings/new-construction/criteria/ease-of-recovery-and-recycling/)
Note on C150: Level(s) method based on DGNB criteria "Ease of recovery and recycling" TEC1.6 (https://www.dgnb-system.de/en/buildings/new-construction/criteria/ease-of-recovery-and-recycling/)
Note on C154: Level(s) method based on DGNB criteria "Ease of recovery and recycling" TEC1.6 (https://www.dgnb-system.de/en/buildings/new-construction/criteria/ease-of-recovery-and-recycling/)
Note on C157: Optional DGNB benchmark, not required by Level(s)
Note on C158: Level(s) method based on DGNB criteria "Ease of recovery and recycling" TEC1.6 (https://www.dgnb-system.de/en/buildings/new-construction/criteria/ease-of-recovery-and-recycling/)
Note on C163: Level(s) method based on DGNB criteria "Ease of recovery and recycling" TEC1.6 (https://www.dgnb-system.de/en/buildings/new-construction/criteria/ease-of-recovery-and-recycling/)
Note on C167: Level(s) method based on DGNB criteria "Ease of recovery and recycling" TEC1.6 (https://www.dgnb-system.de/en/buildings/new-construction/criteria/ease-of-recovery-and-recycling/)
Note on C170: Optional DGNB benchmark, not required by Level(s)
Note on D221: Optional DGNB benchmark, not required by Level(s)
Note on C232: Ratio of the measured concentration to the EU-LCI value: Concentration of µg/m3 to an EU LCI value of µg/m3
Note on D232: Optional DGNB benchmark, not required by Level(s)
Note on D243: Optional DGNB benchmark, not required by Level(s)
Note on D260: Optional DGNB benchmark, not required by Level(s)
Note on D263: Optional DGNB benchmark, not required by Level(s)
Note on C288: Use drop down to determine the data source
Note on F288: Use drop down
Note on F289: Use drop down
Note on F290: Use drop down
Note on F291: Use drop down
Note on C292: Use drop down to determine the data source
Note on F292: Use drop down
Note on F293: Use drop down
Note on F294: Use drop down
Note on F295: Use drop down
Note on C296: Use drop down to determine the data source
Note on F296: Use drop down
Note on F297: Use drop down
Note on F298: Use drop down
Note on F299: Use drop down
Note on C300: Use drop down to determine the data source
Note on F300: Use drop down
Note on F301: Use drop down
Note on F302: Use drop down
Note on F303: Use drop down
Note on C304: Use drop down to determine the data source
Note on F304: Use drop down
Note on F305: Use drop down
Note on F306: Use drop down
Note on F307: Use drop down
Note on C308: Use drop down to determine the data source
Note on F308: Use drop down
Note on F309: Use drop down
Note on F310: Use drop down
Note on F311: Use drop down
Note on C312: Use drop down to determine the data source
Note on F312: Use drop down
Note on F313: Use drop down
Note on F314: Use drop down
Note on F315: Use drop down
Note on C316: Use drop down to determine the data source
Note on F316: Use drop down
Note on F317: Use drop down
Note on F318: Use drop down
Note on F319: Use drop down
Note on C320: Use drop down to determine the data source
Note on F320: Use drop down
Note on F321: Use drop down
Note on F322: Use drop down
Note on F323: Use drop down
Note on C324: Use drop down to determine the data source
Note on F324: Use drop down
Note on F325: Use drop down
Note on F326: Use drop down
Note on F327: Use drop down
Note on C328: Use drop down to determine the data source
Note on F328: Use drop down
Note on F329: Use drop down
Note on F330: Use drop down
Note on F331: Use drop down

## Level 3
Level 3 - As-built and In-Use
Macro objective | Indicator | Parameter and unit |  |  | Verwendbare Kriterien und Indikatoren im DGNB System Sanierung 2021 | Value | Quality of data
1. Greenhouse gas emissions along a buildings life cycle | 1.1 Use stage energy performance | Delivered energy needs assessment (Energy carrier in kWh/yr) | Heating |  | ENV1.1 (KPI1, 2) Indikator 2.1 Ökobilanz-Optimierung
Cooling
Ventilation
Hot water
Lighting
Other
|  | Regulated total primary energy (kWh/m2/yr) |  |  | ENV1.1 (KPI 2) Indikator 1.1 Ökobilanzen in der Planung Indikator 2.1 Ökobilanz-Optimierung
Unregulated total primary energy (kWh/m2/yr)
| 1.2 Life cycle Global Warming Potential | GWP fossil (CO2eq./m²/yr) (m² of useful internal floor per year over 50 years) | Option A | Product (A1-3) | Deklaration in DGNB ohne Kategorien GWP fossil, biogenic and land use (ENV1.1 KPI 4); Die Anwendung des vollständigen Verfahrens gemäß DGNB entspricht der Level(s) Option C (ENV1.1 KPI 6, 7)
Construction process (A4-5)
Use stage (B1-7)
End of life (C1-4)
Benefits and loads beyond the system boundary (D)
|  |  | Option B | Product (A1-3)
|  |  |  | Use stage (B4, B5, B6) | ENV1.1 (KPI 4, KPI 6, KPI 7) Indikator 2.1 Ökobilanz-Optimierung Indikator 3.1 Ökobilanz Vergleichsrechnung
|  |  | Option C | Product (A1-3)
Use stage (B6)
End of life (C3-4)
Benefits and loads beyond the system boundary (D)
|  | GWP biogenic (CO2eq./m²/yr) (m² of useful internal floor per year over 50 years) | Option A | Product (A1-3)
Construction process (A4-5)
Use stage (B1-7)
End of life (C1-4)
Benefits and loads beyond the system boundary (D)
|  |  | Option B | Product (A1-3)
Use stage (B4, B5, B6)
|  |  | Option C | Product (A1-3)
Use stage (B6)
End of life (C3-4)
Benefits and loads beyond the system boundary (D)
|  | GWP land use and land use change (CO2eq./m²/yr) | Option A | Product (A1-3)
Construction process (A4-5)
Use stage (B1-7)
End of life (C1-4)
Benefits and loads beyond the system boundary (D)
|  |  | Option B | Product (A1-3)
Use stage (B4, B5, B6)
|  |  | Option C | Product (A1-3)
Use stage (B6)
End of life (C3-4)
Benefits and loads beyond the system boundary (D)
GWP lifecyle stage A (fossil + biogenic + land use and land change)
GWP lifecyle stage B (fossil + biogenic + land use and land change)
GWP lifecyle stage C (fossil + biogenic + land use and land change)
GWP lifecyle stages A + b + C (fossil + biogenic + land use and land change)
2. Resource efficient and circular material life cycles | 2.1 Bill of Quantities, materials and lifespans | Material type: Concrete, brick, tile, natural stone, ceramic | Material total (t) |  | ENV1.1 (KPI 9) Indikator 3.1 Ökobilanz-Optimierung
Material total (%) of combined total
|  | Material type: Wood | Material total (t)
Material total (%) of combined total
|  | Material type: Glass | Material total (t)
Material total (%) of combined total
|  | Material type: Plastic | Material total (t)
Material total (%) of combined total
2. Resource efficient and circular material life cycles | 2.1 Bill of Quantities, materials and lifespans | Material type: Bituminous mixtures | Material total (t)
Material total (%) of combined total
|  | Material type: Metals | Material total (t)
Material total (%) of combined total
|  | Material type: Insulation materials | Material total (t)
Material total (%) of combined total
|  | Material type: Gypsum | Material total (t)
Material total (%) of combined total
|  | Material type: Mixed | Material total (t)
Material total (%) of combined total
|  | Material type: Electrical and electronic materials | Material total (t)
Material total (%) of combined total
|  | Material type: Combined total mass | Material total (t)
Material total (%) of combined total
|  | Building aspect: Shell | Split by mass (t) |  | ENV1.1 (KPI 9) Indikator 3.1 Ökobilanz-Optimierung
Split by mass (%) of combined total
Split by Cost (€)
Split by Cost (%) of combined total
Total cost €/m2
Total cost €/t
|  | Building aspect: Core | Split by mass (t)
Split by mass (%) of combined total
Split by Cost (€)
Split by Cost (%) of combined total
Total cost €/m2
Total cost €/t
|  | Building aspect: External | Split by mass (t)
Split by mass (%) of combined total
Split by Cost (€)
Split by Cost (%) of combined total
Total cost €/m2
Total cost €/t
|  | Building aspect: Total | Split by mass (t)
Split by mass (%) of combined total
Split by Cost (€)
Split by Cost (%) of combined total
Total cost €/m2
Total cost €/t
|  | Building floor area in m2 |  |  | ECO2.2 (KPI 6) Indikator 3.1 Eigenschaften des Marktes
| 2.2 Construction and Demolition waste and materials | Reuse of materials | Mass (kg) of construction |  | PRO2.1 (KPI 1) Indikator 4 Abfallarme Baustelle ENV1.1 (KPI 11) Indikator 3.1 Ökobilanz-Optimierung
Mass (kg/m2) of construction
Fraction (%) of combined total
|  | Recycling of demolition waste | Mass (kg) of construction
Mass (kg/m2) of construction
Fraction (%) of combined total
|  | Material recovery (backfill) | Mass (kg) of construction
Mass (kg/m2) of construction
Fraction (%) of combined total
|  | Energy recovery | Mass (kg) of construction
Mass (kg/m2) of construction
Fraction (%) of combined total
|  | Disposal | Total | Mass (kg) of construction
Mass (kg/m2)
Fraction (%) of combined total
|  |  | Inert | Mass (kg) of construction
Mass (kg/m2)
Fraction (%) of combined total
2. Resource efficient and circular material life cycles | 2.2 Construction and Demolition waste and materials | Disposal | Non-hazardous | Mass (kg) of construction
Mass (kg/m2)
Fraction (%) of combined total
|  |  | Hazardous | Mass (kg) of construction
Mass (kg/m2)
Fraction (%) of combined total
|  | Total combined | Mass (kg) of construction
Mass (kg/m2)
Fraction (%) of combined total
| 2.3 Design for adaptability and renovation | Adaptability score (Office building): 1. Changes to the internal space distribution | Weighting factor: 1.1 Column grid spans |  | ECO2.1 (KPI 6) Innovationsraum für Indikatoren 2-7 mit Level(s) Scoring
Weighting factor: 1.2 Façade pattern
Weighting factor: 1.3 Internal wall system
Weighting factor: 1.4 Unit size and access
|  | Adaptability score (Office building): 2. Changes to the building servicing | Weighting factor: 2.1 Ease of access to service ducts
Weighting factor: 2.2 Ease of access to plant rooms
Weighting factor: 2.3 Longitudinal ducts for service routes
Weighting factor: 2.4 Higher ceilings for service routes
Weighting factor: 2.5 Services to sub-divisions
|  | Adaptability score (Office building): 3. Changes to the building's façade and structure | Weighting factor: 3.1 Non-load bearing facades
Weighting factor: 3.2 Future-proofing of load bearing capacity
Weighting factor: 3.3 Structural design to support future expansion
Adaptability score (Office building): Total weighted score
|  | Adaptability score (Residential building): 1. Changes to the internal space distribution | Weighting factor: 1.1 Wall systems that support layout changes
Weighting factor: 1.2 Greater ceiling heights for surface routes
|  | Adaptability score (Residential building): 2. Changes to the buildings servicing | Weighting factor: 2.1 Ease of access to the building services
Weighting factor: 2.2 Ease of adaptation of the distribution networks and connectors
|  | Adaptability score (Residential building): 3. Change to the use of units or floors | Weighting factor: 3.1 The potential for a segregated home working spaces
Weighting factor: 3.2 The potential for ground floor conversion to a contained unit
|  | Adaptability score (Residential building): 4. Changes in access requirements | Weighting factor: 4.1 Ease of access to each residential unit
Weighting factor: 4.2 Access to and manoeuvrability within rooms
Adaptability score (Residential building): Total weighted score
| 2.4 Design for deconstruction | Score for ease of recovery: Structure | Load bearing structural frame |  | TEC1.6 (KPI 5) Indikator 2.1 Rückbaufreundlichkeit
Load bearing external walls
External and internal columns
Floor and roof structures
Foundations
|  | Score for ease of recovery: Shell | Non-load bearing external walls
Facades (inculding windows and doors)
Cladding and internal linings of external walls
Roof coverings and linings
|  | Score for ease of recovery: Core | Fit out (flooring, ceilings and linings)
Non-load bearing internal walls
Services (lighting, energy, ventilation, sanitation)
2. Resource efficient and circular material life cycles | 2.4 Design for deconstruction | Score for ease of recovery: Overall score obtained
|  | Score for ease of reuse and recycling: Structure | Load bearing structural frame |  | TEC1.6 (KPI 5) Indikator 2.1 Rückbaufreundlichkeit
Load bearing external walls
External and internal columns
Floor and roof structures
Foundations
|  | Score for ease of reuse and recycling: Shell | Non-load bearing external walls
Facades (inculding windows and doors)
Cladding and internal linings of external walls
Roof coverings and linings
|  | Score for ease of reuse and recycling: Core | Fit out (flooring, ceilings and linings)
Non-load bearing internal walls
Services (lighting, energy, ventilation, sanitation)
Score for ease of reuse and recycling: Overall score obtained
3. Efficient use of water resources | 3.1 Use stage water consumption | Number of occupants (Residential Building) |  | Measure | ENV2.2 (KPI 1) Indikator 1.1 Trinkwasserbedarf und Abwasseraufkommen
Deviation to Level 2 estimates (%)
|  | Number of full-time equivalent occupants (Office building) |  | Measure
Deviation to Level 2 estimates (%)
|  | Meter reading (m3/a) |  | Measure
Deviation to Level 2 estimates (%)
|  | Specific consumption rate (m3/o/a) |  | Measure
Deviation to Level 2 estimates (%)
4. Healthy and comfortable spaces | 4.1 Indoor air quality | Pollutants predominantly from outdoor sources | Ventilation performance category |  | SOC1.2 (KPI 3) Indikator 1.1 Innenraumhygiene –Flüchtige organische Verbindungen (VOC) Indikator 2.1 Innenraumhygiene
Ventilation rate (l/s/m²)
|  |  | Occupation rate (permanent, temporary, short or without occupation) |  | SOC1.2 Indikator 2.1 Innenraumhygiene
|  |  | Radon (Bq/m³) |  | SITE1.1 KPI 2 Indikator 14.1 Radonexposition
|  |  | PM 2,5 (µg/m³) |  | SITE1.1 Indikator 12.1 Luftqualität
PM 10 (µg/m³)
Ozone (µg/m³)
Benzene (µg/m³)
|  | Air quality aspects (from outdoor and indoor sources) | Relative humidity (%) |  | SOC1.1 KPI 7 Indikator 4.1 Relative Luftfeuchte / Heizperiode SOC1.2 2.2.2 Agenda 2030 Bonus - Schadstoffreduktion in der Innenraumluft, Gesundheit und Wohlbefinden
|  |  | CO2 (ppm indoors) |  | SOC1.2 KPI 4 Indikator 2.1 Innenraumhygiene –Lüftungsrate 2.2.1 Agenda 2030 Bonus - Schadstoffreduktion in der Innenraumluft, Gesundheit und Wohlbefinden
CO2 (ppm outdoors)
|  | Pollutants predominantly from indoor sources | Total VOC (µg/m³) |  | SOC1.2 Indikator 1.1 Innenraumhygiene –Flüchtige organische Verbindungen (VOC)
Total CMR VOC (µg/m³)
R-value
Formaldehyde (µg/m³)
| 4.2 Time outside of thermal comfort range | Operative temperature range (°C) | Lower/upper limits: Cooling season |  | SOC1.1 (KPI 1) Indikator 1.1 Operative Temperatur Heizperiode Indikator 5.1 Operative Temperatur Kühlperiode TEC1.3 (KPI 6) Indikator 4 Sommerlicher Wärmeschutz
Lower/upper limits: Heating season
|  | Time out of range (%) (without mechanical heating/cooling) | Lower/upper limits: Cooling season
Lower/upper limits: Heating season
Lower/upper limits: Over whole year
|  | Time out of range (%) (with mechanical heating/cooling) | Lower/upper limits: Cooling season
Lower/upper limits: Heating season
Lower/upper limits: Over whole year
|  | Optional: Thermal environment categories (without mechanical cooling) | Lower/upper limits: Cooling season |  | SOC1.1 (KPI 1) Indikator 1.1 Operative Temperatur Heizperiode Indikator 5.1 Operative Temperatur Kühlperiode
Lower/upper limits: Heating season
|  | Optional: Thermal environment categories (with mechanical cooling) | Lower/upper limits: Cooling season
Lower/upper limits: Heating season
| 4.3: Lighting and Visual Comfort | Not yet defined
| 4.4: Acoustics and protection against noise | Not yet defined
5. Adaption and resilience to climate change | 5.1 Protection of occupier health and thermal comfort | Not yet defined
| 5.2: Increased risk of extreme weather events | Not yet defined
| 5.3: Increased risk of flood events | Not yet defined
6. Optimised life cycle costs and value | 6.1 Life cycle costs | Initial costs: Normalised cost (€/m2/yr) | (A) Product and construction stages |  | ECO1.1 (KPI 1) Indikator 1.1 Lebenszykluskostenrechnungen in der Planung Indikator 2.1 Lebenszykluskostenoptimierung
(B) Use stage
(C) End of life stage
|  | Annual costs: Normalised cost (€/m2/yr) | (B) Use stage
|  | Periodic costs: Normalised cost (€/m2/yr) | (B) Use stage
|  | Global costs by life cycle stage: Normalised cost (€/m2/yr) | Sum of stage A costs
Sum of stage B costs
Sum of stage C costs
|  | Building elements cost: Foundations | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Load bearing structural frame | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Non-load bearing elements | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Facades | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Roof | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Parking facilities | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Fixed lighting system | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Energy system | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Ventilation system | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Building elements cost: Sanitary systems | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
6. Optimised life cycle costs and value | 6.1 Life cycle costs | Building elements cost: Miscellaneous systems | (A) Product and construction stages
(B2) Assumptions for Maintenance
(B3) Assumptions for Repair
(B4) Assumptions for Replacement
|  | Annual costs: Normalised cost (€/m2/yr) |  |  | ECO1.1 Indikator 1.1 Lebenszyklus-kostenrechnungen in der Planung Indikator 2.1 Lebenszykluskostenoptimierung
Periodic costs: Normalised cost (€/m2/yr)
| 6.2: Value creation and risk exposure | Not yet defined
Note on E4: Use Drop down
Note on E5: Use Drop down
Note on E6: Use Drop down
Note on E7: Use Drop down
Note on E8: Use Drop down
Note on E9: Use Drop down
Note on C12: Simplified option: kg CO2 eq
Note on D12: Choose one option A, B or C
Note on D17: Choose one option A, B or C
Note on D19: Choose one option A, B or C
Note on D23: Choose one option A, B or C
Note on D28: Choose one option A, B or C
Note on D30: Choose one option A, B or C
Note on D34: Choose one option A, B or C
Note on D39: Choose one option A, B or C
Note on D41: Choose one option A, B or C
Note on D123: Compare indicator 2.3 p. 22 for scoring
Note on D124: Compare indicator 2.3 p. 22 for scoring
Note on D125: Compare indicator 2.3 p. 22 for scoring
Note on D126: Compare indicator 2.3 p. 22 for scoring
Note on D127: Compare indicator 2.3 p. 22 for scoring
Note on D128: Compare indicator 2.3 p. 22 for scoring
Note on D129: Compare indicator 2.3 p. 22 for scoring
Note on D130: Compare indicator 2.3 p. 22 for scoring
Note on D131: Compare indicator 2.3 p. 22 for scoring
Note on D132: Compare indicator 2.3 p. 22 for scoring
Note on D133: Compare indicator 2.3 p. 22 for scoring
Note on D134: Compare indicator 2.3 p. 22 for scoring
Note on D136: Compare indicator 2.3 p. 22 for scoring
Note on D137: Compare indicator 2.3 p. 22 for scoring
Note on D138: Compare indicator 2.3 p. 22 for scoring
Note on D139: Compare indicator 2.3 p. 22 for scoring
Note on D140: Compare indicator 2.3 p. 22 for scoring
Note on D141: Compare indicator 2.3 p. 22 for scoring
Note on D142: Compare indicator 2.3 p. 22 for scoring
Note on D143: Compare indicator 2.3 p. 22 for scoring
Note on C145: Level(s) method based on DGNB criteria "Ease of recovery and recycling" TEC1.6 (https://www.dgnb-system.de/en/buildings/new-construction/criteria/ease-of-recovery-and-recycling/)
Note on C150: Level(s) method based on DGNB criteria "Ease of recovery and recycling" TEC1.6 (https://www.dgnb-system.de/en/buildings/new-construction/criteria/ease-of-recovery-and-recycling/)
Note on C154: Level(s) method based on DGNB criteria "Ease of recovery and recycling" TEC1.6 (https://www.dgnb-system.de/en/buildings/new-construction/criteria/ease-of-recovery-and-recycling/)
Note on C157: Optional DGNB benchmark, not required by Level(s)
Note on C158: Level(s) method based on DGNB criteria "Ease of recovery and recycling" TEC1.6 (https://www.dgnb-system.de/en/buildings/new-construction/criteria/ease-of-recovery-and-recycling/)
Note on C163: Level(s) method based on DGNB criteria "Ease of recovery and recycling" TEC1.6 (https://www.dgnb-system.de/en/buildings/new-construction/criteria/ease-of-recovery-and-recycling/)
Note on C167: Level(s) method based on DGNB criteria "Ease of recovery and recycling" TEC1.6 (https://www.dgnb-system.de/en/buildings/new-construction/criteria/ease-of-recovery-and-recycling/)
Note on C170: Optional DGNB benchmark, not required by Level(s)
Note on C219: Use drop down to determine the data source
Note on F219: Use drop down
Note on F220: Use drop down
Note on F221: Use drop down
Note on F222: Use drop down
Note on C223: Use drop down to determine the data source
Note on F223: Use drop down
Note on F224: Use drop down
Note on F225: Use drop down
Note on F226: Use drop down
Note on C227: Use drop down to determine the data source
Note on F227: Use drop down
Note on F228: Use drop down
Note on F229: Use drop down
Note on F230: Use drop down
Note on C231: Use drop down to determine the data source
Note on F231: Use drop down
Note on F232: Use drop down
Note on F233: Use drop down
Note on F234: Use drop down
Note on C235: Use drop down to determine the data source
Note on F235: Use drop down
Note on F236: Use drop down
Note on F237: Use drop down
Note on F238: Use drop down
Note on C239: Use drop down to determine the data source
Note on F239: Use drop down
Note on F240: Use drop down
Note on F241: Use drop down
Note on F242: Use drop down
Note on C243: Use drop down to determine the data source
Note on F243: Use drop down
Note on F244: Use drop down
Note on F245: Use drop down
Note on F246: Use drop down
Note on C247: Use drop down to determine the data source
Note on F247: Use drop down
Note on F248: Use drop down
Note on F249: Use drop down
Note on F250: Use drop down
Note on C251: Use drop down to determine the data source
Note on F251: Use drop down
Note on F252: Use drop down
Note on F253: Use drop down
Note on F254: Use drop down
Note on C255: Use drop down to determine the data source
Note on F255: Use drop down
Note on F256: Use drop down
Note on F257: Use drop down
Note on F258: Use drop down
Note on C259: Use drop down to determine the data source
Note on F259: Use drop down
Note on F260: Use drop down
Note on F261: Use drop down
Note on F262: Use drop down